Common Code Table C03 — Instrument make and type

| CodeFigureForIXIIXIX | CodeFigureForBUFR | InstrumentMakeAndType_{lang} | EquationCoefficients | EquationCoefficients |
| --- | --- | --- | --- | --- |
| 001 | 1 | Sippican T-4 | 6.472 | -2.16 |
| 002 | 2 | Sippican T-4 | 6.691 | -2.25 |
| 011 | 11 | Sippican T-5 | 6.828 | -1.82 |
| 021 | 21 | Sippican Fast Deep | 6.346 | -1.82 |
| 031 | 31 | Sippican T-6 | 6.472 | -2.16 |
| 032 | 32 | Sippican T-6 | 6.691 | -2.25 |
| 041 | 41 | Sippican T-7 | 6.472 | -2.16 |
| 042 | 42 | Sippican T-7 | 6.691 | -2.25 |
| 051 | 51 | Sippican Deep Blue | 6.472 | -2.16 |
| 052 | 52 | Sippican Deep Blue | 6.691 | -2.25 |
| 061 | 61 | Sippican T-10 | 6.301 | -2.16 |
| 071 | 71 | Sippican T-11 | 1.7779 | -0.255 |
| 081 | 81 | Sippican AXBT (300 m probes) | 1.52 | 0.0 |
| 201 | 201 | TSK T-4 | 6.472 | -2.16 |
| 202 | 202 | TSK T-4 | 6.691 | -2.25 |
| 211 | 211 | TSK T-6 | 6.472 | -2.16 |
| 212 | 212 | TSK T-6 | 6.691 | -2.25 |
| 221 | 221 | TSK T-7 | 6.472 | -2.16 |
| 222 | 222 | TSK T-7 | 6.691 | -2.25 |
| 231 | 231 | TSK T-5 | 6.828 | -1.82 |
| 241 | 241 | TSK T-10 | 6.301 | -2.16 |
| 251 | 251 | TSK Deep Blue | 6.472 | -2.16 |
| 252 | 252 | TSK Deep Blue | 6.691 | -2.25 |
| 261 | 261 | TSK AXBT |  |  |
| 401 | 401 | Sparton XBT-1 | 6.301 | -2.16 |
| 411 | 411 | Sparton XBT-3 | 5.861 | -0.0904 |
| 421 | 421 | Sparton XBT-4 | 6.472 | -2.16 |
| 431 | 431 | Sparton XBT-5 | 6.828 | -1.82 |
| 441 | 441 | Sparton XBT-5DB | 6.828 | -1.82 |
| 451 | 451 | Sparton XBT-6 | 6.472 | -2.16 |
| 461 | 461 | Sparton XBT-7 | 6.472 | -2.16 |
| 462 | 462 | Sparton XBT-7 | 6.705 | -2.28 |
| 471 | 471 | Sparton XBT-7DB | 6.472 | -2.16 |
| 481 | 481 | Sparton XBT-10 | 6.301 | -2.16 |
| 491 | 491 | Sparton XBT-20 | 6.472 | -2.16 |
| 501 | 501 | Sparton XBT-20DB | 6.472 | -2.16 |
| 510 | 510 | Sparton 536 AXBT | 1.524 | 0 |
| 700 | 700 | Sippican XCTD Standard |  |  |
| 710 | 710 | Sippican XCTD Deep |  |  |
| 720 | 720 | Sippican AXCTD |  |  |
| 730 | 730 | Sippican SXCTD |  |  |
| 741 | 741 | TSK XCTD/XCTD-1/XCTD-1N/XCTD-1A | 3.42543 | -0.47 |
| 742 | 742 | TSK XCTD-2/XCTD-2N/XCTD-4A | 3.43898 | -0.31 |
| 743 | 743 | TSK XCTD-2F | 3.43898 | -0.31 |
| 744 | 744 | TSK XCTD-3/XCTD-3N | 5.07598 | -0.72 |
| 745 | 745 | TSK XCTD-4/XCTD-4N | 3.68081 | -0.47 |
| 746 | 746 | TSK XCTP-1 |  |  |
| 747 | 747 | TSK XCTP-4 |  |  |
| 751 | 751 | TSK AXCTD |  |  |
| 780 | 780 | Sea-Bird SBE21 SEACAT Thermosalinograph | Not applicable | Not applicable |
| 781 | 781 | Sea-Bird SBE45 MicroTSG Thermosalinograph | Not applicable | Not applicable |
| 800 | 800 | Mechanical BT | Not applicable | Not applicable |
| 810 | 810 | Hydrocast | Not applicable | Not applicable |
| 820 | 820 | Thermistor chain | Not applicable | Not applicable |
| 825 | 825 | Temperature (sonic) and pressure probes | Not applicable | Not applicable |
| 830 | 830 | CTD | Not applicable | Not applicable |
| 831 | 831 | CTD-P-ALACE float | Not applicable | Not applicable |
| 834 | 834 | PROVOR V SBE | Not applicable | Not applicable |
| 835 | 835 | PROVOR IV | Not applicable | Not applicable |
| 836 | 836 | PROVOR III | Not applicable | Not applicable |
| 837 | 837 | ARVOR_C, SBE conductivity sensor |  |  |
| 838 | 838 | ARVOR_D, SBE conductivity sensor |  |  |
| 839 | 839 | PROVOR-II, SBE conductivity sensor |  |  |
| 840 | 840 | PROVOR, no conductivity sensor | Not applicable | Not applicable |
| 841 | 841 | PROVOR, Sea-Bird conductivity sensor | Not applicable | Not applicable |
| 842 | 842 | PROVOR, FSI conductivity sensor | Not applicable | Not applicable |
| 843 | 843 | Polar Ocean Profiling System (POPS), PROVOR, SBE CTD |  |  |
| 844 | 844 | Profiling float, ARVOR, Sea-Bird conductivity sensor |  |  |
| 845 | 845 | Webb Research, no conductivity sensor | Not applicable | Not applicable |
| 846 | 846 | Webb Research, Sea-Bird conductivity sensor | Not applicable | Not applicable |
| 847 | 847 | Webb Research, FSI conductivity sensor | Not applicable | Not applicable |
| 848 | 848 | APEX-EM, SBE conductivity sensor |  |  |
| 849 | 849 | APEX_D, SBE conductivity sensor |  |  |
| 850 | 850 | SOLO, no conductivity sensor | Not applicable | Not applicable |
| 851 | 851 | SOLO, Sea-Bird conductivity sensor | Not applicable | Not applicable |
| 852 | 852 | SOLO, FSI conductivity sensor | Not applicable | Not applicable |
| 853 | 853 | Profiling float, SOLO2 (SCRIPPS), Sea-Bird conductivity sensor |  |  |
| 854 | 854 | S2A, SBE conductivity sensor |  |  |
| 855 | 855 | Profiling float, NINJA, no conductivity sensor | Not applicable | Not applicable |
| 856 | 856 | Profiling float, NINJA, SBE conductivity sensor | Not applicable | Not applicable |
| 857 | 857 | Profiling float, NINJA, FSI conductivity sensor | Not applicable | Not applicable |
| 858 | 858 | Profiling float, NINJA, TSK conductivity sensor | Not applicable | Not applicable |
| 859 | 859 | Profiling float, NEMO, no conductivity sensor | Not applicable | Not applicable |
| 860 | 860 | Profiling float, NEMO, SBE conductivity sensor | Not applicable | Not applicable |
| 861 | 861 | Profiling float, NEMO, FSI conductivity sensor | Not applicable | Not applicable |
| 862 | 862 | SOLO_D, SBE conductivity sensor |  |  |
| 863 | 863 | NAVIS-A, SBE conductivity sensor |  |  |
| 864 | 864 | NINJA_D, SBE conductivity sensor |  |  |
| 865 | 865 | NOVA, SBE conductivity sensor |  |  |
| 866 | 866 | ALAMO, no conductivity sensor |  |  |
| 867 | 867 | ALAMO, RBR conductivity sensor |  |  |
| 868 | 868 | ALAMO, SBE conductivity sensor |  |  |
| 869 | 869 | NAVIS_EBR, SBE conductivity sensor |  |  |
| 870 | 870 | HM2000 | Not applicable | Not applicable |
| 871 | 871 | COPEX | Not applicable | Not applicable |
| 872 | 872 | S2X | Not applicable | Not applicable |
| 873 | 873 | ALTO | Not applicable | Not applicable |
| 874 | 874 | SOLO_D_MRV | Not applicable | Not applicable |
| 875 | 875 | ALTO RBR | Not applicable | Not applicable |
| 876 | 876 | ALTO SBE | Not applicable | Not applicable |
| 877 | 877 | APEX RBR | Not applicable | Not applicable |
| 878 | 878 | ARVOR RBR | Not applicable | Not applicable |
| 879 | 879 | SOLO II RBR | Not applicable | Not applicable |
| 880 | 880 | S2A RBR | Not applicable | Not applicable |
| 881 | 881 | HM4000 SBE | Not applicable | Not applicable |
| 882 | 882 | HM6000 SBE | Not applicable | Not applicable |
| 883 | 883 | APEX_D RBR | Not applicable | Not applicable |
| 884 | 884 | SOLO_BGC, SBE | Not applicable | Not applicable |
| 885 | 885 | SOLO_BGC, RBR | Not applicable | Not applicable |
| 886 | 886 | SOLO_BGC_MRV, SBE | Not applicable | Not applicable |
| 887 | 887 | SOLO_BGC_MRV, RBR | Not applicable | Not applicable |
| 888 | 888 | PROVOR_V - Jumbo, SBE | Not applicable | Not applicable |
| 889 | 889 | PROVOR_V - Jumbo, RBR | Not applicable | Not applicable |
| 890 | 890 | PROVOR_III - Jumbo, SBE | Not applicable | Not applicable |
| 891 | 891 | PROVOR_III - Jumbo, RBR | Not applicable | Not applicable |
| 892-899 | 892-899 | Reserved |  |  |
| 900 | 900 | Sippican LMP-5 XBT | 9.727 | -0.0473 |
| 901 | 901 | Ice-tethered Profiler (ITP), SBE CTD |  |  |
| 902 | 902 | Brooke Ocean Moving Vessel Profiler (MVP) |  |  |
| 903 | 903 | Sea-Bird CTD |  |  |
| 904 | 904 | AML Oceanographic CTD |  |  |
| 905 | 905 | Falmouth Scientific CTD |  |  |
| 906 | 906 | Ocean Sensors CTD |  |  |
| 907 | 907 | Valeport CTD |  |  |
| 908 | 908 | Oceanscience MVP |  |  |
| 909 | 909 | IDRONAUT CTD |  |  |
| 910 | 910 | Sea-Bird SBE 38 |  |  |
| 911-994 | 911-994 | Reserved |  |  |
| 995 | 995 | Instrument attached to marine mammals | Not applicable | Not applicable |
| 996 | 996 | Instrument attached to animals other than marine mammals | Not applicable | Not applicable |
| 997-999 | 997-999 | Reserved |  |  |
|  | 1000-1022 | Reserved |  |  |
|  | 1023 | Missing value |  |  |